## SWIM_DNRME_KPI_21-22_McKinlay S
Year | Organisation | Scheme Id | Scheme | Scheme long name | Scheme Type | KPI code | Swim Code | Indicator Title | Value | Units | Comments
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG1.4a | AS1 | Number water treatment plants: providing full treatment | 0 | Count
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG1.1 | AS2 | Length water mains | 7.9 | km
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG1.4b | AS47 | Capacity of water treatment plants | NR | ML/day
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG1.7 | AS48 | Total potable water storage volume | 0.5 | ML
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG1.23 | AS56 | Volume water lost: potable water | 1.2 | ML
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG4.5 | AS8 | Water main breaks per 100 km water main | 50.8 | per 100 km water main
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG4.12 | CS10 | Water service complaints per 1000 connections | 0 | per 1000 connections
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG4.14 | CS12 | Water and sewerage billing and account complaints per 1000 connections | 0 | per 1000 connections
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG4.11 | CS13 | Water and sewerage complaints (all) per 1000 connections | 0 | per 1000 connections
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG4.7 | CS17 | Average frequency unplanned interruptions: water | 44.6 | per 1000 connections
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG1.13 | CS2 | Connected residential properties: water | 0.257 | 000s
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG1.14 | CS3 | Connected non-residential properties: water | 0.102 | 000s
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG4.8a | CS66 | Percent CSS response target met: water incidents | 100 | %
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG4.10 | CS9 | Water quality complaints per 1000 connections | 0 | per 1000 connections
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG4.1(value) | PR3 | Fixed charge: water value | 687.22 | $/annum
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG4.1(text) | PR5 | Fixed charge: water description | Access & consumption | Text
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG1.8 | WA1 | Volume water sourced: surface water | NR | ML
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG1.9a | WA2 | Volume water sourced: groundwater | 674.8 | ML
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG1.5 | WA201 | Maximum daily demand | 2.5 | ML/day | This figure is estimated based on current bore readings. Previous years data was submitted by prior Water and Sewerage Officer
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG1.21 | WA223 | Volume all water imported: internal and external | NR | ML
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG1.22 | WA224 | Volume all water exported: internal and external | NR | ML
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG1.6a | WA225 | Volume potable water produced at a water treatment plant | NR | ML
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG1.17a | WA32 | Volume potable water supplied: residential | 229.4 | ML
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG1.18a | WA34 | Volume potable water supplied: non-residential | 438.6 | ML
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG1.10 | WA61 | Volume water sourced: desalination marine water | NR | ML
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG1.12 | WA7 | Volume water sourced: all | 674.8 | ML
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG2.10a | WS11 | Water restriction duration: PWCM | NR | days
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG2.10b | WS12 | Water restriction duration: Level 1 | NR | days
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG2.10c | WS13 | Water restriction duration: Level 2 | NR | days
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG2.10d | WS14 | Water restriction duration: Level 3 | NR | days
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG2.10e | WS15 | Water restriction duration: Level 4 | NR | days
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG2.10f | WS16 | Water restriction duration: Level 5 | NR | days
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG2.11a | WS17 | Has asset management planning been undertaken in the last 10 yrs? | yes | yes/no | New Asset Management Plans to be developed in 22/23
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG2.11b | WS18 | Has drought management planning been undertaken in the last 10 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG2.11c | WS19 | Has water demand forecasts been developed or reviewed in the last 5 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG2.11d | WS20 | Has assessment of key capacity constraints of water infrastructure been undertaken in last 10 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG2.11e | WS21 | Has the timing for potential future supply augmentation been assessed in the last 10 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG2.12 | WS22 | Months water supply remaining as at 30 June (KPI level) | 6 | 1,2,3,4,5,6
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG2.13 | WS23 | Confidence water demand will be met: next 18 mths | high | high,fair,unsure,low,very low
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG2.14 | WS24 | Confidence water demand will be met: next 5 yrs | high | high,fair,unsure,low,very low
2022 | McKinlay Shire Council | 9400 | Julia Creek Water | Julia Creek Potable Water Scheme | Potable water scheme | QG2.3 | WS3 | Available contingency supplies | yes | yes/no | There are 4 frequently used bores within the Julia Creek Township with back up pumps and gensets connected for power outages
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG1.4a | AS1 | Number water treatment plants: providing full treatment | 0 | Count
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG1.1 | AS2 | Length water mains | 5.6 | km
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG1.4b | AS47 | Capacity of water treatment plants | NR | ML/day
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG1.7 | AS48 | Total potable water storage volume | 0.05 | ML
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG1.23 | AS56 | Volume water lost: potable water | 0.1 | ML
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG4.5 | AS8 | Water main breaks per 100 km water main | 0 | per 100 km water main
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG4.12 | CS10 | Water service complaints per 1000 connections | 85.7 | per 1000 connections
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG4.14 | CS12 | Water and sewerage billing and account complaints per 1000 connections | 0 | per 1000 connections
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG4.11 | CS13 | Water and sewerage complaints (all) per 1000 connections | 171.4 | per 1000 connections
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG4.7 | CS17 | Average frequency unplanned interruptions: water | 0 | per 1000 connections
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG1.13 | CS2 | Connected residential properties: water | 0.026 | 000s
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG1.14 | CS3 | Connected non-residential properties: water | 0.009 | 000s
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG4.8a | CS66 | Percent CSS response target met: water incidents | 100 | %
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG4.10 | CS9 | Water quality complaints per 1000 connections | 85.7 | per 1000 connections
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG4.1(value) | PR3 | Fixed charge: water value | 417.56 | $/annum
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG4.1(text) | PR5 | Fixed charge: water description | Access & consumption | Text
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG1.8 | WA1 | Volume water sourced: surface water | NR | ML
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG1.9a | WA2 | Volume water sourced: groundwater | 4.3 | ML | This figure is estimated based on current bore readings. Previous years data was submitted by prior Water and Sewerage Officer
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG1.5 | WA201 | Maximum daily demand | 0.3 | ML/day | This This figure is estimated based on current bore readings. Previous years data was submitted by prior Water and Sewerage Officer
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG1.21 | WA223 | Volume all water imported: internal and external | NR | ML
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG1.22 | WA224 | Volume all water exported: internal and external | NR | ML
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG1.6a | WA225 | Volume potable water produced at a water treatment plant | NR | ML
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG1.17a | WA32 | Volume potable water supplied: residential | 0.2 | ML
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG1.18a | WA34 | Volume potable water supplied: non-residential | 2.8 | ML
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG1.10 | WA61 | Volume water sourced: desalination marine water | NR | ML
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG1.12 | WA7 | Volume water sourced: all | 4.3 | ML
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG2.10a | WS11 | Water restriction duration: PWCM | NR | days
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG2.10b | WS12 | Water restriction duration: Level 1 | NR | days
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG2.10c | WS13 | Water restriction duration: Level 2 | NR | days
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG2.10d | WS14 | Water restriction duration: Level 3 | NR | days
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG2.10e | WS15 | Water restriction duration: Level 4 | NR | days
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG2.10f | WS16 | Water restriction duration: Level 5 | NR | days
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG2.11a | WS17 | Has asset management planning been undertaken in the last 10 yrs? | yes | yes/no | New Asset Management Plans to be developed in 22/23
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG2.11b | WS18 | Has drought management planning been undertaken in the last 10 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG2.11c | WS19 | Has water demand forecasts been developed or reviewed in the last 5 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG2.11d | WS20 | Has assessment of key capacity constraints of water infrastructure been undertaken in last 10 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG2.11e | WS21 | Has the timing for potential future supply augmentation been assessed in the last 10 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG2.12 | WS22 | Months water supply remaining as at 30 June (KPI level) | 6 | 1,2,3,4,5,6
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG2.13 | WS23 | Confidence water demand will be met: next 18 mths | high | high,fair,unsure,low,very low
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG2.14 | WS24 | Confidence water demand will be met: next 5 yrs | high | high,fair,unsure,low,very low
2022 | McKinlay Shire Council | 9402 | Kynuna Water | Kynuna Potable Water Scheme | Potable water scheme | QG2.3 | WS3 | Available contingency supplies | yes | yes/no | Back up pumps, generator for power outages and Council can cart water if needed. Approx time for contingency is: 4hrs
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG1.4a | AS1 | Number water treatment plants: providing full treatment | 0 | Count
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG1.1 | AS2 | Length water mains | 2.2 | km
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG1.4b | AS47 | Capacity of water treatment plants | NR | ML/day
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG1.7 | AS48 | Total potable water storage volume | 0.05 | ML
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG1.23 | AS56 | Volume water lost: potable water | 0.1 | ML
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG4.5 | AS8 | Water main breaks per 100 km water main | 45.5 | per 100 km water main
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG4.12 | CS10 | Water service complaints per 1000 connections | 0 | per 1000 connections
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG4.14 | CS12 | Water and sewerage billing and account complaints per 1000 connections | 0 | per 1000 connections
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG4.11 | CS13 | Water and sewerage complaints (all) per 1000 connections | 0 | per 1000 connections
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG4.7 | CS17 | Average frequency unplanned interruptions: water | 178.6 | per 1000 connections
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG1.13 | CS2 | Connected residential properties: water | 0.036 | 000s
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG1.14 | CS3 | Connected non-residential properties: water | 0.02 | 000s
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG4.8a | CS66 | Percent CSS response target met: water incidents | 100 | %
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG4.10 | CS9 | Water quality complaints per 1000 connections | 0 | per 1000 connections
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG4.1(value) | PR3 | Fixed charge: water value | 417.56 | $/annum
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG4.1(text) | PR5 | Fixed charge: water description | Access & consumption | Text
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG1.8 | WA1 | Volume water sourced: surface water | NR | ML
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG1.9a | WA2 | Volume water sourced: groundwater | 13.2 | ML | This figure is estimated based on current bore readings. Previous years data was submitted by prior Water and Sewerage Officer
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG1.5 | WA201 | Maximum daily demand | 0.7 | ML/day | This figure is estimated based on current bore readings. Previous years data was submitted by prior Water and Sewerage Officer
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG1.21 | WA223 | Volume all water imported: internal and external | NR | ML
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG1.22 | WA224 | Volume all water exported: internal and external | NR | ML
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG1.6a | WA225 | Volume potable water produced at a water treatment plant | NR | ML
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG1.17a | WA32 | Volume potable water supplied: residential | 5.8 | ML
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG1.18a | WA34 | Volume potable water supplied: non-residential | 7.3 | ML
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG1.10 | WA61 | Volume water sourced: desalination marine water | NR | ML
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG1.12 | WA7 | Volume water sourced: all | 13.2 | ML
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG2.10a | WS11 | Water restriction duration: PWCM | NR | days
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG2.10b | WS12 | Water restriction duration: Level 1 | NR | days
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG2.10c | WS13 | Water restriction duration: Level 2 | NR | days
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG2.10d | WS14 | Water restriction duration: Level 3 | NR | days
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG2.10e | WS15 | Water restriction duration: Level 4 | NR | days
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG2.10f | WS16 | Water restriction duration: Level 5 | NR | days
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG2.11a | WS17 | Has asset management planning been undertaken in the last 10 yrs? | yes | yes/no | New Asset Management Plans to be developed in 22/23
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG2.11b | WS18 | Has drought management planning been undertaken in the last 10 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG2.11c | WS19 | Has water demand forecasts been developed or reviewed in the last 5 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG2.11d | WS20 | Has assessment of key capacity constraints of water infrastructure been undertaken in last 10 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG2.11e | WS21 | Has the timing for potential future supply augmentation been assessed in the last 10 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG2.12 | WS22 | Months water supply remaining as at 30 June (KPI level) | 6 | 1,2,3,4,5,6
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG2.13 | WS23 | Confidence water demand will be met: next 18 mths | high | high,fair,unsure,low,very low
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG2.14 | WS24 | Confidence water demand will be met: next 5 yrs | high | high,fair,unsure,low,very low
2022 | McKinlay Shire Council | 1288 | McKinlay Water | McKinlay Potable Water Scheme | Potable water scheme | QG2.3 | WS3 | Available contingency supplies | yes | yes/no | Back up pumps, generator for power outages and Council can cart water if needed. Approx time for contingency is: 4hrs
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG1.4a | AS1 | Number water treatment plants: providing full treatment | 0 | Count
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG1.1 | AS2 | Length water mains | 0.4 | km
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG1.4b | AS47 | Capacity of water treatment plants | NR | ML/day
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG1.7 | AS48 | Total potable water storage volume | 0 | ML
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG1.23 | AS56 | Volume water lost: potable water | 0 | ML | No losses due to free flowing bore, no fire-fighting, flushing, illegal use or bursts/leaks observed during the year
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG4.5 | AS8 | Water main breaks per 100 km water main | 0 | per 100 km water main
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG4.12 | CS10 | Water service complaints per 1000 connections | 0 | per 1000 connections
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG4.14 | CS12 | Water and sewerage billing and account complaints per 1000 connections | 0 | per 1000 connections
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG4.11 | CS13 | Water and sewerage complaints (all) per 1000 connections | 0 | per 1000 connections
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG4.7 | CS17 | Average frequency unplanned interruptions: water | 0 | per 1000 connections
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG1.13 | CS2 | Connected residential properties: water | 0.006 | 000s
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG1.14 | CS3 | Connected non-residential properties: water | 0.002 | 000s
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG4.8a | CS66 | Percent CSS response target met: water incidents | 100 | %
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG4.10 | CS9 | Water quality complaints per 1000 connections | 0 | per 1000 connections
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG4.1(value) | PR3 | Fixed charge: water value | 218.58 | $/annum
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG4.1(text) | PR5 | Fixed charge: water description | Access & consumption | Text
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG1.8 | WA1 | Volume water sourced: surface water | NR | ML
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG1.9a | WA2 | Volume water sourced: groundwater | 5 | ML | This figure is estimated as there is no meter on bore. Council are considering installing a meter in the 2022/23 Financial Year to give more accurate readings
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG1.5 | WA201 | Maximum daily demand | 0 | ML/day
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG1.21 | WA223 | Volume all water imported: internal and external | NR | ML
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG1.22 | WA224 | Volume all water exported: internal and external | NR | ML
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG1.6a | WA225 | Volume potable water produced at a water treatment plant | NR | ML
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG1.17a | WA32 | Volume potable water supplied: residential | 1.5 | ML
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG1.18a | WA34 | Volume potable water supplied: non-residential | 3.5 | ML
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG1.10 | WA61 | Volume water sourced: desalination marine water | NR | ML
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG1.12 | WA7 | Volume water sourced: all | 5 | ML
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG2.10a | WS11 | Water restriction duration: PWCM | NR | days
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG2.10b | WS12 | Water restriction duration: Level 1 | NR | days
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG2.10c | WS13 | Water restriction duration: Level 2 | NR | days
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG2.10d | WS14 | Water restriction duration: Level 3 | NR | days
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG2.10e | WS15 | Water restriction duration: Level 4 | NR | days
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG2.10f | WS16 | Water restriction duration: Level 5 | NR | days
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG2.11a | WS17 | Has asset management planning been undertaken in the last 10 yrs? | yes | yes/no | New Asset Management Plans to be developed in 22/23
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG2.11b | WS18 | Has drought management planning been undertaken in the last 10 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG2.11c | WS19 | Has water demand forecasts been developed or reviewed in the last 5 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG2.11d | WS20 | Has assessment of key capacity constraints of water infrastructure been undertaken in last 10 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG2.11e | WS21 | Has the timing for potential future supply augmentation been assessed in the last 10 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG2.12 | WS22 | Months water supply remaining as at 30 June (KPI level) | 6 | 1,2,3,4,5,6
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG2.13 | WS23 | Confidence water demand will be met: next 18 mths | high | high,fair,unsure,low,very low
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG2.14 | WS24 | Confidence water demand will be met: next 5 yrs | high | high,fair,unsure,low,very low
2022 | McKinlay Shire Council | 9401 | Nelia Water | Nelia Potable Water Scheme | Potable water scheme | QG2.3 | WS3 | Available contingency supplies | yes | yes/no | Free flowing bore. Water carting if required. Approx time for contingency: 3hrs
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG1.1 | AS2 | Length water mains | 0 | km
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG4.5 | AS8 | Water main breaks per 100 km water main | 0 | per 100 km water main
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG4.12 | CS10 | Water service complaints per 1000 connections | 0 | per 1000 connections
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG4.14 | CS12 | Water and sewerage billing and account complaints per 1000 connections | 0 | per 1000 connections
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG4.11 | CS13 | Water and sewerage complaints (all) per 1000 connections | 0 | per 1000 connections
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG1.13 | CS2 | Connected residential properties: water | NR | 000s
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG1.14 | CS3 | Connected non-residential properties: water | NR | 000s
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG4.8a | CS66 | Percent CSS response target met: water incidents | 100 | %
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG4.10 | CS9 | Water quality complaints per 1000 connections | 0 | per 1000 connections
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG4.1(value) | PR3 | Fixed charge: water value | NR | $/annum
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG4.1(text) | PR5 | Fixed charge: water description | NR | Text
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG1.8 | WA1 | Volume water sourced: surface water | NR | ML
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG1.9a | WA2 | Volume water sourced: groundwater | 4.2 | ML | Estimated. No meters on bores
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG1.5 | WA201 | Maximum daily demand | 0 | ML/day
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG1.21 | WA223 | Volume all water imported: internal and external | NR | ML
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG1.22 | WA224 | Volume all water exported: internal and external | NR | ML
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG1.10 | WA61 | Volume water sourced: desalination marine water | NR | ML
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG1.12 | WA7 | Volume water sourced: all | 4.2 | ML
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG1.17b | WA91 | Volume raw-PT water supplied: residential | NR | ML
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG1.18b | WA92 | Volume raw-PT water supplied: non-residential | 4.2 | ML
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.10a | WS11 | Water restriction duration: PWCM | NR | days
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.10b | WS12 | Water restriction duration: Level 1 | NR | days
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.10c | WS13 | Water restriction duration: Level 2 | NR | days
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.10d | WS14 | Water restriction duration: Level 3 | NR | days
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.10e | WS15 | Water restriction duration: Level 4 | NR | days
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.10f | WS16 | Water restriction duration: Level 5 | NR | days
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.11a | WS17 | Has asset management planning been undertaken in the last 10 yrs? | yes | yes/no | Bores logged when required
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.11b | WS18 | Has drought management planning been undertaken in the last 10 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.11c | WS19 | Has water demand forecasts been developed or reviewed in the last 5 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.11d | WS20 | Has assessment of key capacity constraints of water infrastructure been undertaken in last 10 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.11e | WS21 | Has the timing for potential future supply augmentation been assessed in the last 10 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.12 | WS22 | Months water supply remaining as at 30 June (KPI level) | 6 | 1,2,3,4,5,6
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.13 | WS23 | Confidence water demand will be met: next 18 mths | high | high,fair,unsure,low,very low
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.14 | WS24 | Confidence water demand will be met: next 5 yrs | high | high,fair,unsure,low,very low
2022 | McKinlay Shire Council | 14991 | Gilliat Non-potable WSA | Gilliat Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.3 | WS3 | Available contingency supplies | yes | yes/no | Stock use only
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG1.1 | AS2 | Length water mains | 0 | km
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG4.5 | AS8 | Water main breaks per 100 km water main | 0 | per 100 km water main
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG4.12 | CS10 | Water service complaints per 1000 connections | 0 | per 1000 connections
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG4.14 | CS12 | Water and sewerage billing and account complaints per 1000 connections | 0 | per 1000 connections
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG4.11 | CS13 | Water and sewerage complaints (all) per 1000 connections | 0 | per 1000 connections
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG1.13 | CS2 | Connected residential properties: water | NR | 000s
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG1.14 | CS3 | Connected non-residential properties: water | NR | 000s
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG4.8a | CS66 | Percent CSS response target met: water incidents | 100 | %
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG4.10 | CS9 | Water quality complaints per 1000 connections | 0 | per 1000 connections
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG4.1(value) | PR3 | Fixed charge: water value | NR | $/annum
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG4.1(text) | PR5 | Fixed charge: water description | NR | Text
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG1.8 | WA1 | Volume water sourced: surface water | NR | ML
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG1.9a | WA2 | Volume water sourced: groundwater | 2.9 | ML | Estimated. no meters on bores
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG1.5 | WA201 | Maximum daily demand | 0 | ML/day
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG1.21 | WA223 | Volume all water imported: internal and external | NR | ML
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG1.22 | WA224 | Volume all water exported: internal and external | NR | ML
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG1.10 | WA61 | Volume water sourced: desalination marine water | NR | ML
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG1.12 | WA7 | Volume water sourced: all | 2.9 | ML
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG1.17b | WA91 | Volume raw-PT water supplied: residential | NR | ML
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG1.18b | WA92 | Volume raw-PT water supplied: non-residential | 2.9 | ML
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.10a | WS11 | Water restriction duration: PWCM | NR | days
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.10b | WS12 | Water restriction duration: Level 1 | NR | days
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.10c | WS13 | Water restriction duration: Level 2 | NR | days
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.10d | WS14 | Water restriction duration: Level 3 | NR | days
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.10e | WS15 | Water restriction duration: Level 4 | NR | days
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.10f | WS16 | Water restriction duration: Level 5 | NR | days
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.11a | WS17 | Has asset management planning been undertaken in the last 10 yrs? | yes | yes/no | Bores logged when required
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.11b | WS18 | Has drought management planning been undertaken in the last 10 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.11c | WS19 | Has water demand forecasts been developed or reviewed in the last 5 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.11d | WS20 | Has assessment of key capacity constraints of water infrastructure been undertaken in last 10 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.11e | WS21 | Has the timing for potential future supply augmentation been assessed in the last 10 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.12 | WS22 | Months water supply remaining as at 30 June (KPI level) | 6 | 1,2,3,4,5,6
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.13 | WS23 | Confidence water demand will be met: next 18 mths | high | high,fair,unsure,low,very low
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.14 | WS24 | Confidence water demand will be met: next 5 yrs | high | high,fair,unsure,low,very low
2022 | McKinlay Shire Council | 14990 | Oorindi Non-potable WSA | Oorindi Non-potable Water Service Area | Raw-Partially treated water scheme | QG2.3 | WS3 | Available contingency supplies | yes | yes/no | Stock use only
2022 | McKinlay Shire Council | 965 | Julia Creek Sewerage | Julia Creek Sewerage Scheme | Sewerage scheme | QG4.6 | AS39 | Sewerage mains breaks/chokes per 100 km sewer main | 9.1 | per 100 km sewer mains
2022 | McKinlay Shire Council | 965 | Julia Creek Sewerage | Julia Creek Sewerage Scheme | Sewerage scheme | QG1.3 | AS4 | Number sewage treatment plants | 1 | Count
2022 | McKinlay Shire Council | 965 | Julia Creek Sewerage | Julia Creek Sewerage Scheme | Sewerage scheme | QG1.2 | AS5 | Length sewerage mains and channels | 11 | km
2022 | McKinlay Shire Council | 965 | Julia Creek Sewerage | Julia Creek Sewerage Scheme | Sewerage scheme | QG4.13 | CS11 | Sewerage service complaints per 1000 connections | 0 | per 1000 connections
2022 | McKinlay Shire Council | 965 | Julia Creek Sewerage | Julia Creek Sewerage Scheme | Sewerage scheme | QG4.14 | CS12 | Water and sewerage billing and account complaints per 1000 connections | 0 | per 1000 connections
2022 | McKinlay Shire Council | 965 | Julia Creek Sewerage | Julia Creek Sewerage Scheme | Sewerage scheme | QG4.11 | CS13 | Water and sewerage complaints (all) per 1000 connections | 0 | per 1000 connections
2022 | McKinlay Shire Council | 965 | Julia Creek Sewerage | Julia Creek Sewerage Scheme | Sewerage scheme | QG1.15 | CS6 | Connected residential properties: sewerage | 0.247 | 000s
2022 | McKinlay Shire Council | 965 | Julia Creek Sewerage | Julia Creek Sewerage Scheme | Sewerage scheme | QG4.9a | CS65 | Percent CSS response target met: sewerage incidents | 100 | %
2022 | McKinlay Shire Council | 965 | Julia Creek Sewerage | Julia Creek Sewerage Scheme | Sewerage scheme | QG1.16 | CS7 | Connected non-residential properties: sewerage | 0.093 | 000s
2022 | McKinlay Shire Council | 965 | Julia Creek Sewerage | Julia Creek Sewerage Scheme | Sewerage scheme | QG4.2(value) | PR31 | Fixed charge: sewerage value | 495.14 | $/annum
2022 | McKinlay Shire Council | 965 | Julia Creek Sewerage | Julia Creek Sewerage Scheme | Sewerage scheme | QG4.2(text) | PR40 | Fixed charge: sewerage description | First Pedestal | Text
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG1.4a | AS1 | Number water treatment plants: providing full treatment | 0 | Count
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG1.1 | AS2 | Length water mains | 16.1 | km
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG4.6 | AS39 | Sewerage mains breaks/chokes per 100 km sewer main | 9.1 | per 100 km sewer mains
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG1.3 | AS4 | Number sewage treatment plants | 1 | Count
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG1.4b | AS47 | Capacity of water treatment plants | 0 | ML/day
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG1.7 | AS48 | Total potable water storage volume | 0.6 | ML
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG1.2 | AS5 | Length sewerage mains and channels | 11 | km
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG1.23 | AS56 | Volume water lost: potable water | 1.4 | ML
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG4.5 | AS8 | Water main breaks per 100 km water main | 31.1 | per 100 km water main
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG4.12 | CS10 | Water service complaints per 1000 connections | 6.6 | per 1000 connections
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG4.13 | CS11 | Sewerage service complaints per 1000 connections | 0 | per 1000 connections
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG4.14 | CS12 | Water and sewerage billing and account complaints per 1000 connections | 0 | per 1000 connections
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG4.11 | CS13 | Water and sewerage complaints (all) per 1000 connections | 13.1 | per 1000 connections
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG4.7 | CS17 | Average frequency unplanned interruptions: water | 56.8 | per 1000 connections
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG1.13 | CS2 | Connected residential properties: water | 0.325 | 000s
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG1.14 | CS3 | Connected non-residential properties: water | 0.133 | 000s
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG1.15 | CS6 | Connected residential properties: sewerage | 0.247 | 000s
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG4.9a | CS65 | Percent CSS response target met: sewerage incidents | 100 | %
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG4.8a | CS66 | Percent CSS response target met: water incidents | 100 | %
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG1.16 | CS7 | Connected non-residential properties: sewerage | 0.093 | 000s
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG4.10 | CS9 | Water quality complaints per 1000 connections | 6.6 | per 1000 connections
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG3.9 | FN1 | Revenue: all (NPR) water | 313 | $,000
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG3.6 | FN10 | Nominal written down replacement cost: fixed sewerage assets | 7841 | $,000
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG3.11 | FN11 | Costs: operating water per connection | 353.71 | $/connection
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG3.12 | FN12 | Costs: operating sewerage per connection | 382.35 | $/connection
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG3.1 | FN14 | Capital expenditure: water supply | 105 | $,000
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG3.2 | FN15 | Capital expenditure: sewerage | 0 | $,000
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG3.10 | FN2 | Revenue: all (NPR) sewerage | 225 | $,000
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG3.3 | FN26 | Capital works grants: water | 65 | $,000
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG3.4 | FN27 | Capital works grants: sewerage | 64 | $,000
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG3.11a | FN32 | Costs: operating water (NPR) | 162 | $,000
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG3.12a | FN33 | Costs: operating sewerage | 130 | $,000
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG3.21 | FN49 | Costs: any other water | 0 | $,000
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG3.22 | FN50 | Costs: any other sewerage | 0 | $,000
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG3.7 | FN74 | Current replacement costs: fixed water assets | 10444 | $,000
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG3.8 | FN75 | Current replacement costs: fixed sewerage assets | 13783 | $,000
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG3.13 | FN76 | Costs: maintenance water | 149 | $,000
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG3.14 | FN77 | Costs: maintenance sewerage | 65 | $,000
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG3.15 | FN78 | Current cost depreciation: water | 117 | $,000
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG3.16 | FN79 | Current cost depreciation: sewerage | 275 | $,000
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG3.17 | FN80 | Previous 5 year average annual renewals expenditure: water | 267 | $,000
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG3.18 | FN81 | Previous 5 year average annual renewals expenditure: sewerage | 321 | $,000
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG3.19 | FN82 | Forecast 5 year average annual renewals expenditure: water | 87 | $,000
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG3.20 | FN83 | Forecast 5 year average annual renewals expenditure: sewerage | 203 | $,000
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG3.5 | FN9 | Nominal written down replacement cost: fixed water assets | 6084 | $,000
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG4.1(value) | PR3 | Fixed charge: water value | 687.22 | $/annum
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG4.2(value) | PR31 | Fixed charge: sewerage value | 495.14 | $/annum
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG4.2(text) | PR40 | Fixed charge: sewerage description | First Pedestal | Text
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG4.3 | PR47 | Annual bill based on 200kL/a: water+sewerage | 1182.36 | $
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG4.4 | PR48 | Typical residential bill: water+sewerage | 1182.36 | $
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG4.1(text) | PR5 | Fixed charge: water description | Access & Consumption | Text
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG1.8 | WA1 | Volume water sourced: surface water | 0 | ML
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG1.9a | WA2 | Volume water sourced: groundwater | 704.3 | ML
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG1.5 | WA201 | Maximum daily demand | 3.5 | ML/day
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG1.21 | WA223 | Volume all water imported: internal and external | 0 | ML
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG1.22 | WA224 | Volume all water exported: internal and external | 0 | ML
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG1.6a | WA225 | Volume potable water produced at a water treatment plant | NR | ML
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG1.11 | WA26 | Volume recycled sewage supplied: all | NR | ML
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG1.17a | WA32 | Volume potable water supplied: residential | 236.9 | ML
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG1.18a | WA34 | Volume potable water supplied: non-residential | 452.1 | ML
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG1.10 | WA61 | Volume water sourced: desalination marine water | 0 | ML
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG1.12 | WA7 | Volume water sourced: all | 704.3 | ML
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG1.17b | WA91 | Volume raw-PT water supplied: residential | 0 | ML
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG1.18b | WA92 | Volume raw-PT water supplied: non-residential | 7.1 | ML
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG1.20 | WF1 | Total full-time equivalent water+sewerage employees | 1 | FTEs
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG2.10a | WS11 | Water restriction duration: PWCM | NR | days
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG2.10b | WS12 | Water restriction duration: Level 1 | NR | days
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG2.10c | WS13 | Water restriction duration: Level 2 | NR | days
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG2.10d | WS14 | Water restriction duration: Level 3 | NR | days
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG2.10e | WS15 | Water restriction duration: Level 4 | NR | days
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG2.10f | WS16 | Water restriction duration: Level 5 | NR | days
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG2.11a | WS17 | Has asset management planning been undertaken in the last 10 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG2.11b | WS18 | Has drought management planning been undertaken in the last 10 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG2.11c | WS19 | Has water demand forecasts been developed or reviewed in the last 5 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG2.11d | WS20 | Has assessment of key capacity constraints of water infrastructure been undertaken in last 10 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG2.11e | WS21 | Has the timing for potential future supply augmentation been assessed in the last 10 yrs? | yes | yes/no
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG2.12 | WS22 | Months water supply remaining as at 30 June (KPI level) | 6 | 1,2,3,4,5,6
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG2.13 | WS23 | Confidence water demand will be met: next 18 mths | high | high,fair,unsure,low,very low
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG2.14 | WS24 | Confidence water demand will be met: next 5 yrs | high | high,fair,unsure,low,very low
2022 | McKinlay Shire Council | 1355 | McKinlay Shire Council WSP-wide | McKinlay Shire Council WSP-wide | WSP | QG2.3 | WS3 | Available contingency supplies | yes | yes/no